## Setup(1)
Setup title | "I/V Sweep"
Classic test name | "I/V Sweep"
Test date | 2024-05-18
Test time | 0.21566
Device ID
Count | 1
Flags
Remarks
Context.MainFrame | B1500A
Channel.UnitType | SMU | SMU
Channel.Unit | SMU1:HR/AS | SMU2:HR/AS
Channel.IName | Ig | Id
Channel.VName | Vg | Vd
Channel.Mode | V | V
Channel.Func | VAR2 | VAR1
Channel.Index
Channel.Time
Measurement.Port.Unit | SMU1:HR/AS | SMU2:HR/AS
Measurement.Port.SeriesResistor | NONE | NONE
Measurement.Port.Filter | ON | ON
Measurement.Port.OutputVoltageComparison | 0 | 0
Measurement.Primary.Locus | Single
Measurement.Primary.Scale | LINEAR
Measurement.Primary.Start | 0
Measurement.Primary.Stop | -0.5
Measurement.Primary.Step | -0.005
Measurement.Primary.Compliance | 0.1
Measurement.Primary.PowerCompliance | 0
Measurement.Aborting.Condition | "CONTINUE AT ANY"
Measurement.PostOutput.Value | START
Measurement.PostOutput.Retention | OFF
Measurement.Secondary.Start | 0
Measurement.Secondary.Count | 6
Measurement.Secondary.Step | -0.1
Measurement.Secondary.Compliance | 0.0001
Measurement.Secondary.PowerCompliance | 0
Measurement.Bias.Source | 0 | 0
Measurement.Bias.Compliance | 0.0001 | 0.1
Measurement.Monitor.Unit | SMU1:HR/AS | SMU2:HR/AS
Measurement.Monitor.Adc | "HR ADC" | "HR ADC"
Measurement.Monitor.Measurement | "Compliance Side" | "Compliance Side"
Measurement.Monitor.RangingMode | LIMITED | LIMITED
Measurement.Monitor.RangeBoundary | 1nA | 1nA
Measurement.Monitor.RangeRating | "BY FULL RANGE" | "BY FULL RANGE"
Measurement.Monitor.RangeRatingCoeff | 50 | 50
Measurement.Timing.Hold | 0
Measurement.Timing.Delay | 0
Measurement.Adc.HighSpeed.Mode | AUTO
Measurement.Adc.HighSpeed.Coeff | 1
Measurement.Adc.HighResolution.AutoZero | OFF
Measurement.Adc.HighResolution.Mode | AUTO
Measurement.Adc.HighResolution.Coeff | 6
Measurement.WaitTime.Source.Coeff | 1
Measurement.WaitTime.Source.Offset | 0
Measurement.WaitTime.Monitor.Coeff | 1
Measurement.WaitTime.Monitor.Offset | 0
Output.Graph.Enabled | TRUE
Output.Graph.AutoScaling | FALSE
Output.Graph.XAxis.Data | Vd
Output.Graph.XAxis.Scale | Linear
Output.Graph.XAxis.Left | 0
Output.Graph.XAxis.Right | -0.5
Output.Graph.XAxis.RunTimeAutoScale | TRUE
Output.Graph.YAxis.Data | Id
Output.Graph.YAxis.Scale | Linear
Output.Graph.YAxis.Bottom | -0.1
Output.Graph.YAxis.Top | 0.1
Output.Graph.YAxis.Group
Output.Graph.YAxis.RunTimeAutoScale | TRUE
Output.List.Data | Vd | Vg | Id
AutoAnalysis.Interpolation | FALSE
AutoAnalysis.Var2StepCount | 1
AutoAnalysis.Var2StepScript
AutoAnalysis.Line1.Enabled | FALSE
AutoAnalysis.Line1.Type | 1
AutoAnalysis.Line1.Fix | TRUE
AutoAnalysis.Line1.YAxis | 0
AutoAnalysis.Line1.Point1.Type | 0
AutoAnalysis.Line1.Point1.XY.X
AutoAnalysis.Line1.Point1.XY.Y
AutoAnalysis.Line1.Point1.Data.Var
AutoAnalysis.Line1.Point1.Data.Condition
AutoAnalysis.Line1.Point1.Data.Start | FALSE
AutoAnalysis.Line1.Point1.Data.StartVar
AutoAnalysis.Line1.Point1.Data.StartCondition
AutoAnalysis.Line1.Point2.Type | 0
AutoAnalysis.Line1.Point2.XY.X
AutoAnalysis.Line1.Point2.XY.Y
AutoAnalysis.Line1.Point2.Data.Var
AutoAnalysis.Line1.Point2.Data.Condition
AutoAnalysis.Line1.Point2.Data.Start | FALSE
AutoAnalysis.Line1.Point2.Data.StartVar
AutoAnalysis.Line1.Point2.Data.StartCondition
AutoAnalysis.Line1.GradientExpr | 0
AutoAnalysis.Line2.Enabled | FALSE
AutoAnalysis.Line2.Type | 1
AutoAnalysis.Line2.Fix | TRUE
AutoAnalysis.Line2.YAxis | 0
AutoAnalysis.Line2.Point1.Type | 0
AutoAnalysis.Line2.Point1.XY.X
AutoAnalysis.Line2.Point1.XY.Y
AutoAnalysis.Line2.Point1.Data.Var
AutoAnalysis.Line2.Point1.Data.Condition
AutoAnalysis.Line2.Point1.Data.Start | FALSE
AutoAnalysis.Line2.Point1.Data.StartVar
AutoAnalysis.Line2.Point1.Data.StartCondition
AutoAnalysis.Line2.Point2.Type | 0
AutoAnalysis.Line2.Point2.XY.X
AutoAnalysis.Line2.Point2.XY.Y
AutoAnalysis.Line2.Point2.Data.Var
AutoAnalysis.Line2.Point2.Data.Condition
AutoAnalysis.Line2.Point2.Data.Start | FALSE
AutoAnalysis.Line2.Point2.Data.StartVar
AutoAnalysis.Line2.Point2.Data.StartCondition
AutoAnalysis.Line2.GradientExpr | 0
AutoAnalysis.Marker.Enabled | FALSE
AutoAnalysis.Marker.Data.Var
AutoAnalysis.Marker.Data.Condition
AutoAnalysis.Marker.Data.Start | FALSE
AutoAnalysis.Marker.Data.StartVar
AutoAnalysis.Marker.Data.StartCondition
Dimension1 | 101 | 101 | 101
Dimension2 | 6 | 6 | 6
Data Name | Vd | Id | Vg
Data Unit | V | A | V
Data Value | 0 | -7.962e-08 | 0
Data Value | -0.005 | -1.01e-05 | 0
Data Value | -0.01 | -2.0112e-05 | 0
Data Value | -0.015 | -2.9892e-05 | 0
Data Value | -0.02 | -3.976e-05 | 0
Data Value | -0.025 | -4.969e-05 | 0
Data Value | -0.03 | -5.9262e-05 | 0
Data Value | -0.035 | -6.8688e-05 | 0
Data Value | -0.04 | -7.8108e-05 | 0
Data Value | -0.045 | -8.729e-05 | 0
Data Value | -0.05 | -9.6232e-05 | 0
Data Value | -0.055 | -0.0001052 | 0
Data Value | -0.06 | -0.00011409 | 0
Data Value | -0.065 | -0.00011718 | 0
Data Value | -0.07 | -0.00012526 | 0
Data Value | -0.075 | -0.00013304 | 0
Data Value | -0.08 | -0.00014092 | 0
Data Value | -0.085 | -0.00014838 | 0
Data Value | -0.09 | -0.00015524 | 0
Data Value | -0.095 | -0.00016244 | 0
Data Value | -0.1 | -0.00016924 | 0
Data Value | -0.105 | -0.00017566 | 0
Data Value | -0.11 | -0.00018204 | 0
Data Value | -0.115 | -0.00018828 | 0
Data Value | -0.12 | -0.00019446 | 0
Data Value | -0.125 | -0.0001999 | 0
Data Value | -0.13 | -0.0002048 | 0
Data Value | -0.135 | -0.00020982 | 0
Data Value | -0.14 | -0.00021462 | 0
Data Value | -0.145 | -0.00021928 | 0
Data Value | -0.15 | -0.00022366 | 0
Data Value | -0.155 | -0.00022764 | 0
Data Value | -0.16 | -0.00023154 | 0
Data Value | -0.165 | -0.00023524 | 0
Data Value | -0.17 | -0.00023856 | 0
Data Value | -0.175 | -0.00024164 | 0
Data Value | -0.18 | -0.00024464 | 0
Data Value | -0.185 | -0.00024722 | 0
Data Value | -0.19 | -0.00024954 | 0
Data Value | -0.195 | -0.00025174 | 0
Data Value | -0.2 | -0.00025368 | 0
Data Value | -0.205 | -0.00025532 | 0
Data Value | -0.21 | -0.00025682 | 0
Data Value | -0.215 | -0.00025832 | 0
Data Value | -0.22 | -0.00026004 | 0
Data Value | -0.225 | -0.00026124 | 0
Data Value | -0.23 | -0.00026264 | 0
Data Value | -0.235 | -0.00026376 | 0
Data Value | -0.24 | -0.00026462 | 0
Data Value | -0.245 | -0.00026522 | 0
Data Value | -0.25 | -0.00026512 | 0
Data Value | -0.255 | -0.00026544 | 0
Data Value | -0.26 | -0.00026548 | 0
Data Value | -0.265 | -0.0002644 | 0
Data Value | -0.27 | -0.00026418 | 0
Data Value | -0.275 | -0.00026378 | 0
Data Value | -0.28 | -0.00026234 | 0
Data Value | -0.285 | -0.00026154 | 0
Data Value | -0.29 | -0.00026058 | 0
Data Value | -0.295 | -0.0002588 | 0
Data Value | -0.3 | -0.00025752 | 0
Data Value | -0.305 | -0.00025608 | 0
Data Value | -0.31 | -0.00025368 | 0
Data Value | -0.315 | -0.00025204 | 0
Data Value | -0.32 | -0.00025024 | 0
Data Value | -0.325 | -0.00024766 | 0
Data Value | -0.33 | -0.0002459 | 0
Data Value | -0.335 | -0.00024388 | 0
Data Value | -0.34 | -0.00024096 | 0
Data Value | -0.345 | -0.00023878 | 0
Data Value | -0.35 | -0.0002367 | 0
Data Value | -0.355 | -0.0002336 | 0
Data Value | -0.36 | -0.00023132 | 0
Data Value | -0.365 | -0.00022902 | 0
Data Value | -0.37 | -0.00022592 | 0
Data Value | -0.375 | -0.00022368 | 0
Data Value | -0.38 | -0.00022118 | 0
Data Value | -0.385 | -0.0002181 | 0
Data Value | -0.39 | -0.00021586 | 0
Data Value | -0.395 | -0.0002133 | 0
Data Value | -0.4 | -0.0002103 | 0
Data Value | -0.405 | -0.00020794 | 0
Data Value | -0.41 | -0.00020578 | 0
Data Value | -0.415 | -0.00020248 | 0
Data Value | -0.42 | -0.0002003 | 0
Data Value | -0.425 | -0.00019814 | 0
Data Value | -0.43 | -0.00019542 | 0
Data Value | -0.435 | -0.00019334 | 0
Data Value | -0.44 | -0.00019128 | 0
Data Value | -0.445 | -0.00018888 | 0
Data Value | -0.45 | -0.00018692 | 0
Data Value | -0.455 | -0.00018482 | 0
Data Value | -0.46 | -0.00018242 | 0
Data Value | -0.465 | -0.00018078 | 0
Data Value | -0.47 | -0.00017898 | 0
Data Value | -0.475 | -0.0001766 | 0
Data Value | -0.48 | -0.00017504 | 0
Data Value | -0.485 | -0.00017344 | 0
Data Value | -0.49 | -0.00017128 | 0
Data Value | -0.495 | -0.00016962 | 0
Data Value | -0.5 | -0.00016804 | 0
Data Value | 0 | 1.0698e-07 | -0.1
Data Value | -0.005 | -1.3726e-05 | -0.1
Data Value | -0.01 | -2.8266e-05 | -0.1
Data Value | -0.015 | -4.3016e-05 | -0.1
Data Value | -0.02 | -5.8314e-05 | -0.1
Data Value | -0.025 | -7.4014e-05 | -0.1
Data Value | -0.03 | -8.9776e-05 | -0.1
Data Value | -0.035 | -0.00010545 | -0.1
Data Value | -0.04 | -0.00012794 | -0.1
Data Value | -0.045 | -0.00014496 | -0.1
Data Value | -0.05 | -0.0001621 | -0.1
Data Value | -0.055 | -0.00017878 | -0.1
Data Value | -0.06 | -0.00019558 | -0.1
Data Value | -0.065 | -0.00021234 | -0.1
Data Value | -0.07 | -0.00022878 | -0.1
Data Value | -0.075 | -0.0002448 | -0.1
Data Value | -0.08 | -0.00026094 | -0.1
Data Value | -0.085 | -0.00027676 | -0.1
Data Value | -0.09 | -0.00029206 | -0.1
Data Value | -0.095 | -0.0003072 | -0.1
Data Value | -0.1 | -0.00032228 | -0.1
Data Value | -0.105 | -0.00033662 | -0.1
Data Value | -0.11 | -0.00035068 | -0.1
Data Value | -0.115 | -0.0003646 | -0.1
Data Value | -0.12 | -0.00037812 | -0.1
Data Value | -0.125 | -0.00039096 | -0.1
Data Value | -0.13 | -0.0004038 | -0.1
Data Value | -0.135 | -0.00041668 | -0.1
Data Value | -0.14 | -0.00042858 | -0.1
Data Value | -0.145 | -0.00044056 | -0.1
Data Value | -0.15 | -0.00045234 | -0.1
Data Value | -0.155 | -0.000463 | -0.1
Data Value | -0.16 | -0.00047382 | -0.1
Data Value | -0.165 | -0.0004844 | -0.1
Data Value | -0.17 | -0.00049366 | -0.1
Data Value | -0.175 | -0.00050346 | -0.1
Data Value | -0.18 | -0.00051268 | -0.1
Data Value | -0.185 | -0.00052066 | -0.1
Data Value | -0.19 | -0.0005296 | -0.1
Data Value | -0.195 | -0.0005364 | -0.1
Data Value | -0.2 | -0.00054438 | -0.1
Data Value | -0.205 | -0.00055232 | -0.1
Data Value | -0.21 | -0.00055814 | -0.1
Data Value | -0.215 | -0.00056512 | -0.1
Data Value | -0.22 | -0.00057194 | -0.1
Data Value | -0.225 | -0.00057764 | -0.1
Data Value | -0.23 | -0.0005837 | -0.1
Data Value | -0.235 | -0.00058928 | -0.1
Data Value | -0.24 | -0.00059342 | -0.1
Data Value | -0.245 | -0.0005986 | -0.1
Data Value | -0.25 | -0.0006032 | -0.1
Data Value | -0.255 | -0.00060662 | -0.1
Data Value | -0.26 | -0.0006107 | -0.1
Data Value | -0.265 | -0.00061466 | -0.1
Data Value | -0.27 | -0.0006169 | -0.1
Data Value | -0.275 | -0.00061994 | -0.1
Data Value | -0.28 | -0.00062278 | -0.1
Data Value | -0.285 | -0.00062438 | -0.1
Data Value | -0.29 | -0.00062652 | -0.1
Data Value | -0.295 | -0.00062842 | -0.1
Data Value | -0.3 | -0.00062902 | -0.1
Data Value | -0.305 | -0.00063066 | -0.1
Data Value | -0.31 | -0.00063198 | -0.1
Data Value | -0.315 | -0.00063132 | -0.1
Data Value | -0.32 | -0.0006323 | -0.1
Data Value | -0.325 | -0.000633 | -0.1
Data Value | -0.33 | -0.00063168 | -0.1
Data Value | -0.335 | -0.0006318 | -0.1
Data Value | -0.34 | -0.00063186 | -0.1
Data Value | -0.345 | -0.00063018 | -0.1
Data Value | -0.35 | -0.00062972 | -0.1
Data Value | -0.355 | -0.00062914 | -0.1
Data Value | -0.36 | -0.00061472 | -0.1
Data Value | -0.365 | -0.00061316 | -0.1
Data Value | -0.37 | -0.00061148 | -0.1
Data Value | -0.375 | -0.0006094 | -0.1
Data Value | -0.38 | -0.00060708 | -0.1
Data Value | -0.385 | -0.0006051 | -0.1
Data Value | -0.39 | -0.0006029 | -0.1
Data Value | -0.395 | -0.00060046 | -0.1
Data Value | -0.4 | -0.00059792 | -0.1
Data Value | -0.405 | -0.00059576 | -0.1
Data Value | -0.41 | -0.00059346 | -0.1
Data Value | -0.415 | -0.0005921 | -0.1
Data Value | -0.42 | -0.0005908 | -0.1
Data Value | -0.425 | -0.00058934 | -0.1
Data Value | -0.43 | -0.00058762 | -0.1
Data Value | -0.435 | -0.00058298 | -0.1
Data Value | -0.44 | -0.00058042 | -0.1
Data Value | -0.445 | -0.0005781 | -0.1
Data Value | -0.45 | -0.0005745 | -0.1
Data Value | -0.455 | -0.000572 | -0.1
Data Value | -0.46 | -0.00056918 | -0.1
Data Value | -0.465 | -0.00056638 | -0.1
Data Value | -0.47 | -0.00056388 | -0.1
Data Value | -0.475 | -0.00056108 | -0.1
Data Value | -0.48 | -0.00055846 | -0.1
Data Value | -0.485 | -0.0005567 | -0.1
Data Value | -0.49 | -0.00055324 | -0.1
Data Value | -0.495 | -0.00055152 | -0.1
Data Value | -0.5 | -0.00054968 | -0.1
Data Value | 0 | -6.8913e-08 | -0.2
Data Value | -0.005 | -3.5538e-05 | -0.2
Data Value | -0.01 | -7.133e-05 | -0.2
Data Value | -0.015 | -0.00010705 | -0.2
Data Value | -0.02 | -0.00014634 | -0.2
Data Value | -0.025 | -0.00018352 | -0.2
Data Value | -0.03 | -0.0002207 | -0.2
Data Value | -0.035 | -0.00025732 | -0.2
Data Value | -0.04 | -0.00029394 | -0.2
Data Value | -0.045 | -0.00033052 | -0.2
Data Value | -0.05 | -0.0003668 | -0.2
Data Value | -0.055 | -0.00040208 | -0.2
Data Value | -0.06 | -0.00043788 | -0.2
Data Value | -0.065 | -0.00047328 | -0.2
Data Value | -0.07 | -0.00050772 | -0.2
Data Value | -0.075 | -0.0005418 | -0.2
Data Value | -0.08 | -0.00057588 | -0.2
Data Value | -0.085 | -0.000609 | -0.2
Data Value | -0.09 | -0.00064158 | -0.2
Data Value | -0.095 | -0.00067392 | -0.2
Data Value | -0.1 | -0.00070578 | -0.2
Data Value | -0.105 | -0.00073656 | -0.2
Data Value | -0.11 | -0.00076732 | -0.2
Data Value | -0.115 | -0.00079772 | -0.2
Data Value | -0.12 | -0.00082718 | -0.2
Data Value | -0.125 | -0.0008557 | -0.2
Data Value | -0.13 | -0.00088418 | -0.2
Data Value | -0.135 | -0.00091164 | -0.2
Data Value | -0.14 | -0.00093826 | -0.2
Data Value | -0.145 | -0.00096476 | -0.2
Data Value | -0.15 | -0.00099056 | -0.2
Data Value | -0.155 | -0.0010154 | -0.2
Data Value | -0.16 | -0.0010402 | -0.2
Data Value | -0.165 | -0.0010655 | -0.2
Data Value | -0.17 | -0.0010899 | -0.2
Data Value | -0.175 | -0.001111 | -0.2
Data Value | -0.18 | -0.0011342 | -0.2
Data Value | -0.185 | -0.0011194 | -0.2
Data Value | -0.19 | -0.001143 | -0.2
Data Value | -0.195 | -0.0011646 | -0.2
Data Value | -0.2 | -0.0011868 | -0.2
Data Value | -0.205 | -0.0012058 | -0.2
Data Value | -0.21 | -0.0012268 | -0.2
Data Value | -0.215 | -0.0012474 | -0.2
Data Value | -0.22 | -0.0012646 | -0.2
Data Value | -0.225 | -0.0012834 | -0.2
Data Value | -0.23 | -0.0013014 | -0.2
Data Value | -0.235 | -0.0013176 | -0.2
Data Value | -0.24 | -0.0013342 | -0.2
Data Value | -0.245 | -0.00135 | -0.2
Data Value | -0.25 | -0.0013638 | -0.2
Data Value | -0.255 | -0.001379 | -0.2
Data Value | -0.26 | -0.001393 | -0.2
Data Value | -0.265 | -0.001404 | -0.2
Data Value | -0.27 | -0.001417 | -0.2
Data Value | -0.275 | -0.0014294 | -0.2
Data Value | -0.28 | -0.0014392 | -0.2
Data Value | -0.285 | -0.0014502 | -0.2
Data Value | -0.29 | -0.0014612 | -0.2
Data Value | -0.295 | -0.001469 | -0.2
Data Value | -0.3 | -0.0014784 | -0.2
Data Value | -0.305 | -0.0014868 | -0.2
Data Value | -0.31 | -0.001493 | -0.2
Data Value | -0.315 | -0.0015006 | -0.2
Data Value | -0.32 | -0.0015072 | -0.2
Data Value | -0.325 | -0.0015116 | -0.2
Data Value | -0.33 | -0.001518 | -0.2
Data Value | -0.335 | -0.0015236 | -0.2
Data Value | -0.34 | -0.0015262 | -0.2
Data Value | -0.345 | -0.0015312 | -0.2
Data Value | -0.35 | -0.0015356 | -0.2
Data Value | -0.355 | -0.0015366 | -0.2
Data Value | -0.36 | -0.00154 | -0.2
Data Value | -0.365 | -0.0015426 | -0.2
Data Value | -0.37 | -0.0015426 | -0.2
Data Value | -0.375 | -0.0015444 | -0.2
Data Value | -0.38 | -0.001546 | -0.2
Data Value | -0.385 | -0.0015448 | -0.2
Data Value | -0.39 | -0.001546 | -0.2
Data Value | -0.395 | -0.0015464 | -0.2
Data Value | -0.4 | -0.001544 | -0.2
Data Value | -0.405 | -0.001544 | -0.2
Data Value | -0.41 | -0.0015436 | -0.2
Data Value | -0.415 | -0.0015384 | -0.2
Data Value | -0.42 | -0.001511 | -0.2
Data Value | -0.425 | -0.0015082 | -0.2
Data Value | -0.43 | -0.0015054 | -0.2
Data Value | -0.435 | -0.0015028 | -0.2
Data Value | -0.44 | -0.001499 | -0.2
Data Value | -0.445 | -0.0014958 | -0.2
Data Value | -0.45 | -0.0014926 | -0.2
Data Value | -0.455 | -0.001489 | -0.2
Data Value | -0.46 | -0.0014854 | -0.2
Data Value | -0.465 | -0.001481 | -0.2
Data Value | -0.47 | -0.0014768 | -0.2
Data Value | -0.475 | -0.0014726 | -0.2
Data Value | -0.48 | -0.0014682 | -0.2
Data Value | -0.485 | -0.0014646 | -0.2
Data Value | -0.49 | -0.0014602 | -0.2
Data Value | -0.495 | -0.0014552 | -0.2
Data Value | -0.5 | -0.0014514 | -0.2
Data Value | 0 | -1.0031e-07 | -0.3
Data Value | -0.005 | -5.2012e-05 | -0.3
Data Value | -0.01 | -0.00010529 | -0.3
Data Value | -0.015 | -0.00015966 | -0.3
Data Value | -0.02 | -0.00021254 | -0.3
Data Value | -0.025 | -0.00026588 | -0.3
Data Value | -0.03 | -0.00031964 | -0.3
Data Value | -0.035 | -0.00037226 | -0.3
Data Value | -0.04 | -0.00042478 | -0.3
Data Value | -0.045 | -0.0004778 | -0.3
Data Value | -0.05 | -0.00053022 | -0.3
Data Value | -0.055 | -0.00058154 | -0.3
Data Value | -0.06 | -0.00063368 | -0.3
Data Value | -0.065 | -0.00068536 | -0.3
Data Value | -0.07 | -0.00073628 | -0.3
Data Value | -0.075 | -0.00078652 | -0.3
Data Value | -0.08 | -0.00083724 | -0.3
Data Value | -0.085 | -0.00088694 | -0.3
Data Value | -0.09 | -0.00093598 | -0.3
Data Value | -0.095 | -0.0009849 | -0.3
Data Value | -0.1 | -0.0010334 | -0.3
Data Value | -0.105 | -0.0010811 | -0.3
Data Value | -0.11 | -0.0011285 | -0.3
Data Value | -0.115 | -0.0011614 | -0.3
Data Value | -0.12 | -0.0012092 | -0.3
Data Value | -0.125 | -0.001257 | -0.3
Data Value | -0.13 | -0.0013032 | -0.3
Data Value | -0.135 | -0.0013488 | -0.3
Data Value | -0.14 | -0.0013934 | -0.3
Data Value | -0.145 | -0.0014388 | -0.3
Data Value | -0.15 | -0.001483 | -0.3
Data Value | -0.155 | -0.0015258 | -0.3
Data Value | -0.16 | -0.001569 | -0.3
Data Value | -0.165 | -0.0016118 | -0.3
Data Value | -0.17 | -0.001652 | -0.3
Data Value | -0.175 | -0.0016932 | -0.3
Data Value | -0.18 | -0.0017342 | -0.3
Data Value | -0.185 | -0.001772 | -0.3
Data Value | -0.19 | -0.001811 | -0.3
Data Value | -0.195 | -0.0018494 | -0.3
Data Value | -0.2 | -0.0018854 | -0.3
Data Value | -0.205 | -0.001923 | -0.3
Data Value | -0.21 | -0.0019564 | -0.3
Data Value | -0.215 | -0.0019926 | -0.3
Data Value | -0.22 | -0.0020286 | -0.3
Data Value | -0.225 | -0.00206 | -0.3
Data Value | -0.23 | -0.0020944 | -0.3
Data Value | -0.235 | -0.0021282 | -0.3
Data Value | -0.24 | -0.0021588 | -0.3
Data Value | -0.245 | -0.0021906 | -0.3
Data Value | -0.25 | -0.0022222 | -0.3
Data Value | -0.255 | -0.0022506 | -0.3
Data Value | -0.26 | -0.0022806 | -0.3
Data Value | -0.265 | -0.0023094 | -0.3
Data Value | -0.27 | -0.0023352 | -0.3
Data Value | -0.275 | -0.0023634 | -0.3
Data Value | -0.28 | -0.0023902 | -0.3
Data Value | -0.285 | -0.0024136 | -0.3
Data Value | -0.29 | -0.0024392 | -0.3
Data Value | -0.295 | -0.0024642 | -0.3
Data Value | -0.3 | -0.0024852 | -0.3
Data Value | -0.305 | -0.0025086 | -0.3
Data Value | -0.31 | -0.002531 | -0.3
Data Value | -0.315 | -0.00255 | -0.3
Data Value | -0.32 | -0.0025708 | -0.3
Data Value | -0.325 | -0.0025908 | -0.3
Data Value | -0.33 | -0.0026036 | -0.3
Data Value | -0.335 | -0.0025982 | -0.3
Data Value | -0.34 | -0.0026152 | -0.3
Data Value | -0.345 | -0.0026312 | -0.3
Data Value | -0.35 | -0.002646 | -0.3
Data Value | -0.355 | -0.0026602 | -0.3
Data Value | -0.36 | -0.0026738 | -0.3
Data Value | -0.365 | -0.0026864 | -0.3
Data Value | -0.37 | -0.0026984 | -0.3
Data Value | -0.375 | -0.00271 | -0.3
Data Value | -0.38 | -0.002721 | -0.3
Data Value | -0.385 | -0.0027314 | -0.3
Data Value | -0.39 | -0.002741 | -0.3
Data Value | -0.395 | -0.0027506 | -0.3
Data Value | -0.4 | -0.0027612 | -0.3
Data Value | -0.405 | -0.002768 | -0.3
Data Value | -0.41 | -0.0027746 | -0.3
Data Value | -0.415 | -0.0027808 | -0.3
Data Value | -0.42 | -0.0027858 | -0.3
Data Value | -0.425 | -0.0027904 | -0.3
Data Value | -0.43 | -0.0027942 | -0.3
Data Value | -0.435 | -0.0027986 | -0.3
Data Value | -0.44 | -0.0028024 | -0.3
Data Value | -0.445 | -0.0028096 | -0.3
Data Value | -0.45 | -0.0028152 | -0.3
Data Value | -0.455 | -0.0028154 | -0.3
Data Value | -0.46 | -0.0028156 | -0.3
Data Value | -0.465 | -0.0028166 | -0.3
Data Value | -0.47 | -0.0028156 | -0.3
Data Value | -0.475 | -0.0028144 | -0.3
Data Value | -0.48 | -0.002814 | -0.3
Data Value | -0.485 | -0.0028126 | -0.3
Data Value | -0.49 | -0.0028106 | -0.3
Data Value | -0.495 | -0.0028086 | -0.3
Data Value | -0.5 | -0.002807 | -0.3
Data Value | 0 | -1.1496e-07 | -0.4
Data Value | -0.005 | -6.258e-05 | -0.4
Data Value | -0.01 | -0.00012826 | -0.4
Data Value | -0.015 | -0.00019178 | -0.4
Data Value | -0.02 | -0.0002553 | -0.4
Data Value | -0.025 | -0.00031958 | -0.4
Data Value | -0.03 | -0.00038326 | -0.4
Data Value | -0.035 | -0.0004465 | -0.4
Data Value | -0.04 | -0.00050984 | -0.4
Data Value | -0.045 | -0.00057336 | -0.4
Data Value | -0.05 | -0.00063686 | -0.4
Data Value | -0.055 | -0.00069906 | -0.4
Data Value | -0.06 | -0.00076186 | -0.4
Data Value | -0.065 | -0.0008251 | -0.4
Data Value | -0.07 | -0.00088698 | -0.4
Data Value | -0.075 | -0.0009484 | -0.4
Data Value | -0.08 | -0.0010103 | -0.4
Data Value | -0.085 | -0.0010721 | -0.4
Data Value | -0.09 | -0.0011331 | -0.4
Data Value | -0.095 | -0.001188 | -0.4
Data Value | -0.1 | -0.0012494 | -0.4
Data Value | -0.105 | -0.0013096 | -0.4
Data Value | -0.11 | -0.0013704 | -0.4
Data Value | -0.115 | -0.0014308 | -0.4
Data Value | -0.12 | -0.0014882 | -0.4
Data Value | -0.125 | -0.0015478 | -0.4
Data Value | -0.13 | -0.001607 | -0.4
Data Value | -0.135 | -0.001665 | -0.4
Data Value | -0.14 | -0.0017228 | -0.4
Data Value | -0.145 | -0.001781 | -0.4
Data Value | -0.15 | -0.0018378 | -0.4
Data Value | -0.155 | -0.0018942 | -0.4
Data Value | -0.16 | -0.001951 | -0.4
Data Value | -0.165 | -0.002007 | -0.4
Data Value | -0.17 | -0.002062 | -0.4
Data Value | -0.175 | -0.0021166 | -0.4
Data Value | -0.18 | -0.0021716 | -0.4
Data Value | -0.185 | -0.0022258 | -0.4
Data Value | -0.19 | -0.0022802 | -0.4
Data Value | -0.195 | -0.002334 | -0.4
Data Value | -0.2 | -0.0023876 | -0.4
Data Value | -0.205 | -0.0024402 | -0.4
Data Value | -0.21 | -0.002492 | -0.4
Data Value | -0.215 | -0.0025426 | -0.4
Data Value | -0.22 | -0.0025928 | -0.4
Data Value | -0.225 | -0.0026418 | -0.4
Data Value | -0.23 | -0.0026912 | -0.4
Data Value | -0.235 | -0.00274 | -0.4
Data Value | -0.24 | -0.0027876 | -0.4
Data Value | -0.245 | -0.0028352 | -0.4
Data Value | -0.25 | -0.002883 | -0.4
Data Value | -0.255 | -0.0029308 | -0.4
Data Value | -0.26 | -0.0029778 | -0.4
Data Value | -0.265 | -0.0030244 | -0.4
Data Value | -0.27 | -0.003071 | -0.4
Data Value | -0.275 | -0.0031154 | -0.4
Data Value | -0.28 | -0.0031594 | -0.4
Data Value | -0.285 | -0.0032038 | -0.4
Data Value | -0.29 | -0.003247 | -0.4
Data Value | -0.295 | -0.0032864 | -0.4
Data Value | -0.3 | -0.0033288 | -0.4
Data Value | -0.305 | -0.0033666 | -0.4
Data Value | -0.31 | -0.0034078 | -0.4
Data Value | -0.315 | -0.0034476 | -0.4
Data Value | -0.32 | -0.0034832 | -0.4
Data Value | -0.325 | -0.0035232 | -0.4
Data Value | -0.33 | -0.0035612 | -0.4
Data Value | -0.335 | -0.0035966 | -0.4
Data Value | -0.34 | -0.0036334 | -0.4
Data Value | -0.345 | -0.00367 | -0.4
Data Value | -0.35 | -0.0037024 | -0.4
Data Value | -0.355 | -0.003737 | -0.4
Data Value | -0.36 | -0.0037712 | -0.4
Data Value | -0.365 | -0.0038016 | -0.4
Data Value | -0.37 | -0.0038344 | -0.4
Data Value | -0.375 | -0.0038658 | -0.4
Data Value | -0.38 | -0.0038928 | -0.4
Data Value | -0.385 | -0.0039236 | -0.4
Data Value | -0.39 | -0.0039528 | -0.4
Data Value | -0.395 | -0.0039786 | -0.4
Data Value | -0.4 | -0.004007 | -0.4
Data Value | -0.405 | -0.0040344 | -0.4
Data Value | -0.41 | -0.0040574 | -0.4
Data Value | -0.415 | -0.0040836 | -0.4
Data Value | -0.42 | -0.004109 | -0.4
Data Value | -0.425 | -0.0041282 | -0.4
Data Value | -0.43 | -0.0041516 | -0.4
Data Value | -0.435 | -0.0041742 | -0.4
Data Value | -0.44 | -0.0041936 | -0.4
Data Value | -0.445 | -0.0042152 | -0.4
Data Value | -0.45 | -0.0042348 | -0.4
Data Value | -0.455 | -0.004249 | -0.4
Data Value | -0.46 | -0.0042686 | -0.4
Data Value | -0.465 | -0.0042864 | -0.4
Data Value | -0.47 | -0.004265 | -0.4
Data Value | -0.475 | -0.0042804 | -0.4
Data Value | -0.48 | -0.0042946 | -0.4
Data Value | -0.485 | -0.0043082 | -0.4
Data Value | -0.49 | -0.004321 | -0.4
Data Value | -0.495 | -0.0043322 | -0.4
Data Value | -0.5 | -0.004343 | -0.4
Data Value | 0 | -7.6283e-08 | -0.5
Data Value | -0.005 | -6.7418e-05 | -0.5
Data Value | -0.01 | -0.00013788 | -0.5
Data Value | -0.015 | -0.00020616 | -0.5
Data Value | -0.02 | -0.00027534 | -0.5
Data Value | -0.025 | -0.00034416 | -0.5
Data Value | -0.03 | -0.00041232 | -0.5
Data Value | -0.035 | -0.000481 | -0.5
Data Value | -0.04 | -0.00054974 | -0.5
Data Value | -0.045 | -0.0006178 | -0.5
Data Value | -0.05 | -0.00068626 | -0.5
Data Value | -0.055 | -0.00075506 | -0.5
Data Value | -0.06 | -0.00082302 | -0.5
Data Value | -0.065 | -0.00089086 | -0.5
Data Value | -0.07 | -0.00095944 | -0.5
Data Value | -0.075 | -0.001027 | -0.5
Data Value | -0.08 | -0.0010941 | -0.5
Data Value | -0.085 | -0.0011602 | -0.5
Data Value | -0.09 | -0.0012272 | -0.5
Data Value | -0.095 | -0.001295 | -0.5
Data Value | -0.1 | -0.0013626 | -0.5
Data Value | -0.105 | -0.00143 | -0.5
Data Value | -0.11 | -0.0014968 | -0.5
Data Value | -0.115 | -0.0015638 | -0.5
Data Value | -0.12 | -0.0016304 | -0.5
Data Value | -0.125 | -0.0016964 | -0.5
Data Value | -0.13 | -0.001763 | -0.5
Data Value | -0.135 | -0.0018292 | -0.5
Data Value | -0.14 | -0.0018952 | -0.5
Data Value | -0.145 | -0.0019606 | -0.5
Data Value | -0.15 | -0.0020264 | -0.5
Data Value | -0.155 | -0.002092 | -0.5
Data Value | -0.16 | -0.0021566 | -0.5
Data Value | -0.165 | -0.0022218 | -0.5
Data Value | -0.17 | -0.0022872 | -0.5
Data Value | -0.175 | -0.0023508 | -0.5
Data Value | -0.18 | -0.002414 | -0.5
Data Value | -0.185 | -0.0024782 | -0.5
Data Value | -0.19 | -0.0025426 | -0.5
Data Value | -0.195 | -0.0026062 | -0.5
Data Value | -0.2 | -0.0026678 | -0.5
Data Value | -0.205 | -0.002731 | -0.5
Data Value | -0.21 | -0.0027942 | -0.5
Data Value | -0.215 | -0.0028556 | -0.5
Data Value | -0.22 | -0.002918 | -0.5
Data Value | -0.225 | -0.00298 | -0.5
Data Value | -0.23 | -0.003041 | -0.5
Data Value | -0.235 | -0.003102 | -0.5
Data Value | -0.24 | -0.003163 | -0.5
Data Value | -0.245 | -0.0032234 | -0.5
Data Value | -0.25 | -0.0032836 | -0.5
Data Value | -0.255 | -0.003343 | -0.5
Data Value | -0.26 | -0.003402 | -0.5
Data Value | -0.265 | -0.0034618 | -0.5
Data Value | -0.27 | -0.0035206 | -0.5
Data Value | -0.275 | -0.0035772 | -0.5
Data Value | -0.28 | -0.0036354 | -0.5
Data Value | -0.285 | -0.0036938 | -0.5
Data Value | -0.29 | -0.0037498 | -0.5
Data Value | -0.295 | -0.0038062 | -0.5
Data Value | -0.3 | -0.003863 | -0.5
Data Value | -0.305 | -0.0039176 | -0.5
Data Value | -0.31 | -0.0039732 | -0.5
Data Value | -0.315 | -0.004028 | -0.5
Data Value | -0.32 | -0.004081 | -0.5
Data Value | -0.325 | -0.0041356 | -0.5
Data Value | -0.33 | -0.004189 | -0.5
Data Value | -0.335 | -0.004236 | -0.5
Data Value | -0.34 | -0.0042814 | -0.5
Data Value | -0.345 | -0.004333 | -0.5
Data Value | -0.35 | -0.0043842 | -0.5
Data Value | -0.355 | -0.0044346 | -0.5
Data Value | -0.36 | -0.0044844 | -0.5
Data Value | -0.365 | -0.0045352 | -0.5
Data Value | -0.37 | -0.0045852 | -0.5
Data Value | -0.375 | -0.0046328 | -0.5
Data Value | -0.38 | -0.0046794 | -0.5
Data Value | -0.385 | -0.0047262 | -0.5
Data Value | -0.39 | -0.0047718 | -0.5
Data Value | -0.395 | -0.0048136 | -0.5
Data Value | -0.4 | -0.0048602 | -0.5
Data Value | -0.405 | -0.0049048 | -0.5
Data Value | -0.41 | -0.0049476 | -0.5
Data Value | -0.415 | -0.0049906 | -0.5
Data Value | -0.42 | -0.0050342 | -0.5
Data Value | -0.425 | -0.0050744 | -0.5
Data Value | -0.43 | -0.0051166 | -0.5
Data Value | -0.435 | -0.0051594 | -0.5
Data Value | -0.44 | -0.0051984 | -0.5
Data Value | -0.445 | -0.005236 | -0.5
Data Value | -0.45 | -0.005274 | -0.5
Data Value | -0.455 | -0.0053114 | -0.5
Data Value | -0.46 | -0.0053476 | -0.5
Data Value | -0.465 | -0.005383 | -0.5
Data Value | -0.47 | -0.0054174 | -0.5
Data Value | -0.475 | -0.005452 | -0.5
Data Value | -0.48 | -0.005485 | -0.5
Data Value | -0.485 | -0.0055188 | -0.5
Data Value | -0.49 | -0.0055504 | -0.5
Data Value | -0.495 | -0.0055806 | -0.5
Data Value | -0.5 | -0.0056114 | -0.5

## List(1)
Setup Name: | I/V Sweep
Date:
Vd | Id
0 | -7.962e-08
-0.005 | -1.01e-05
-0.01 | -2.0112e-05
-0.015 | -2.9892e-05
-0.02 | -3.976e-05
-0.025 | -4.969e-05
-0.03 | -5.9262e-05
-0.035 | -6.8688e-05
-0.04 | -7.8108e-05
-0.045 | -8.729e-05
-0.05 | -9.6232e-05
-0.055 | -0.0001052
-0.06 | -0.00011409
-0.065 | -0.00011718
-0.07 | -0.00012526
-0.075 | -0.00013304
-0.08 | -0.00014092
-0.085 | -0.00014838
-0.09 | -0.00015524
-0.095 | -0.00016244
-0.1 | -0.00016924
-0.105 | -0.00017566
-0.11 | -0.00018204
-0.115 | -0.00018828
-0.12 | -0.00019446
-0.125 | -0.0001999
-0.13 | -0.0002048
-0.135 | -0.00020982
-0.14 | -0.00021462
-0.145 | -0.00021928
-0.15 | -0.00022366
-0.155 | -0.00022764
-0.16 | -0.00023154
-0.165 | -0.00023524
-0.17 | -0.00023856
-0.175 | -0.00024164
-0.18 | -0.00024464
-0.185 | -0.00024722
-0.19 | -0.00024954
-0.195 | -0.00025174
-0.2 | -0.00025368
-0.205 | -0.00025532
-0.21 | -0.00025682
-0.215 | -0.00025832
-0.22 | -0.00026004
-0.225 | -0.00026124
-0.23 | -0.00026264
-0.235 | -0.00026376
-0.24 | -0.00026462
-0.245 | -0.00026522
-0.25 | -0.00026512
-0.255 | -0.00026544
-0.26 | -0.00026548
-0.265 | -0.0002644
-0.27 | -0.00026418
-0.275 | -0.00026378
-0.28 | -0.00026234
-0.285 | -0.00026154
-0.29 | -0.00026058
-0.295 | -0.0002588
-0.3 | -0.00025752
-0.305 | -0.00025608
-0.31 | -0.00025368
-0.315 | -0.00025204
-0.32 | -0.00025024
-0.325 | -0.00024766
-0.33 | -0.0002459
-0.335 | -0.00024388
-0.34 | -0.00024096
-0.345 | -0.00023878
-0.35 | -0.0002367
-0.355 | -0.0002336
-0.36 | -0.00023132
-0.365 | -0.00022902
-0.37 | -0.00022592
-0.375 | -0.00022368
-0.38 | -0.00022118
-0.385 | -0.0002181
-0.39 | -0.00021586
-0.395 | -0.0002133
-0.4 | -0.0002103
-0.405 | -0.00020794
-0.41 | -0.00020578
-0.415 | -0.00020248
-0.42 | -0.0002003
-0.425 | -0.00019814
-0.43 | -0.00019542
-0.435 | -0.00019334
-0.44 | -0.00019128
-0.445 | -0.00018888
-0.45 | -0.00018692
-0.455 | -0.00018482
-0.46 | -0.00018242
-0.465 | -0.00018078
-0.47 | -0.00017898
-0.475 | -0.0001766
-0.48 | -0.00017504
-0.485 | -0.00017344
-0.49 | -0.00017128
-0.495 | -0.00016962
-0.5 | -0.00016804
0 | 1.0698e-07
-0.005 | -1.3726e-05
-0.01 | -2.8266e-05
-0.015 | -4.3016e-05
-0.02 | -5.8314e-05
-0.025 | -7.4014e-05
-0.03 | -8.9776e-05
-0.035 | -0.00010545
-0.04 | -0.00012794
-0.045 | -0.00014496
-0.05 | -0.0001621
-0.055 | -0.00017878
-0.06 | -0.00019558
-0.065 | -0.00021234
-0.07 | -0.00022878
-0.075 | -0.0002448
-0.08 | -0.00026094
-0.085 | -0.00027676
-0.09 | -0.00029206
-0.095 | -0.0003072
-0.1 | -0.00032228
-0.105 | -0.00033662
-0.11 | -0.00035068
-0.115 | -0.0003646
-0.12 | -0.00037812
-0.125 | -0.00039096
-0.13 | -0.0004038
-0.135 | -0.00041668
-0.14 | -0.00042858
-0.145 | -0.00044056
-0.15 | -0.00045234
-0.155 | -0.000463
-0.16 | -0.00047382
-0.165 | -0.0004844
-0.17 | -0.00049366
-0.175 | -0.00050346
-0.18 | -0.00051268
-0.185 | -0.00052066
-0.19 | -0.0005296
-0.195 | -0.0005364
-0.2 | -0.00054438
-0.205 | -0.00055232
-0.21 | -0.00055814
-0.215 | -0.00056512
-0.22 | -0.00057194
-0.225 | -0.00057764
-0.23 | -0.0005837
-0.235 | -0.00058928
-0.24 | -0.00059342
-0.245 | -0.0005986
-0.25 | -0.0006032
-0.255 | -0.00060662
-0.26 | -0.0006107
-0.265 | -0.00061466
-0.27 | -0.0006169
-0.275 | -0.00061994
-0.28 | -0.00062278
-0.285 | -0.00062438
-0.29 | -0.00062652
-0.295 | -0.00062842
-0.3 | -0.00062902
-0.305 | -0.00063066
-0.31 | -0.00063198
-0.315 | -0.00063132
-0.32 | -0.0006323
-0.325 | -0.000633
-0.33 | -0.00063168
-0.335 | -0.0006318
-0.34 | -0.00063186
-0.345 | -0.00063018
-0.35 | -0.00062972
-0.355 | -0.00062914
-0.36 | -0.00061472
-0.365 | -0.00061316
-0.37 | -0.00061148
-0.375 | -0.0006094
-0.38 | -0.00060708
-0.385 | -0.0006051
-0.39 | -0.0006029
-0.395 | -0.00060046
-0.4 | -0.00059792
-0.405 | -0.00059576
-0.41 | -0.00059346
-0.415 | -0.0005921
-0.42 | -0.0005908
-0.425 | -0.00058934
-0.43 | -0.00058762
-0.435 | -0.00058298
-0.44 | -0.00058042
-0.445 | -0.0005781
-0.45 | -0.0005745
-0.455 | -0.000572
-0.46 | -0.00056918
-0.465 | -0.00056638
-0.47 | -0.00056388
-0.475 | -0.00056108
-0.48 | -0.00055846
-0.485 | -0.0005567
-0.49 | -0.00055324
-0.495 | -0.00055152
-0.5 | -0.00054968
0 | -6.8913e-08
-0.005 | -3.5538e-05
-0.01 | -7.133e-05
-0.015 | -0.00010705
-0.02 | -0.00014634
-0.025 | -0.00018352
-0.03 | -0.0002207
-0.035 | -0.00025732
-0.04 | -0.00029394
-0.045 | -0.00033052
-0.05 | -0.0003668
-0.055 | -0.00040208
-0.06 | -0.00043788
-0.065 | -0.00047328
-0.07 | -0.00050772
-0.075 | -0.0005418
-0.08 | -0.00057588
-0.085 | -0.000609
-0.09 | -0.00064158
-0.095 | -0.00067392
-0.1 | -0.00070578
-0.105 | -0.00073656
-0.11 | -0.00076732
-0.115 | -0.00079772
-0.12 | -0.00082718
-0.125 | -0.0008557
-0.13 | -0.00088418
-0.135 | -0.00091164
-0.14 | -0.00093826
-0.145 | -0.00096476
-0.15 | -0.00099056
-0.155 | -0.0010154
-0.16 | -0.0010402
-0.165 | -0.0010655
-0.17 | -0.0010899
-0.175 | -0.001111
-0.18 | -0.0011342
-0.185 | -0.0011194
-0.19 | -0.001143
-0.195 | -0.0011646
-0.2 | -0.0011868
-0.205 | -0.0012058
-0.21 | -0.0012268
-0.215 | -0.0012474
-0.22 | -0.0012646
-0.225 | -0.0012834
-0.23 | -0.0013014
-0.235 | -0.0013176
-0.24 | -0.0013342
-0.245 | -0.00135
-0.25 | -0.0013638
-0.255 | -0.001379
-0.26 | -0.001393
-0.265 | -0.001404
-0.27 | -0.001417
-0.275 | -0.0014294
-0.28 | -0.0014392
-0.285 | -0.0014502
-0.29 | -0.0014612
-0.295 | -0.001469
-0.3 | -0.0014784
-0.305 | -0.0014868
-0.31 | -0.001493
-0.315 | -0.0015006
-0.32 | -0.0015072
-0.325 | -0.0015116
-0.33 | -0.001518
-0.335 | -0.0015236
-0.34 | -0.0015262
-0.345 | -0.0015312
-0.35 | -0.0015356
-0.355 | -0.0015366
-0.36 | -0.00154
-0.365 | -0.0015426
-0.37 | -0.0015426
-0.375 | -0.0015444
-0.38 | -0.001546
-0.385 | -0.0015448
-0.39 | -0.001546
-0.395 | -0.0015464
-0.4 | -0.001544
-0.405 | -0.001544
-0.41 | -0.0015436
-0.415 | -0.0015384
-0.42 | -0.001511
-0.425 | -0.0015082
-0.43 | -0.0015054
-0.435 | -0.0015028
-0.44 | -0.001499
-0.445 | -0.0014958
-0.45 | -0.0014926
-0.455 | -0.001489
-0.46 | -0.0014854
-0.465 | -0.001481
-0.47 | -0.0014768
-0.475 | -0.0014726
-0.48 | -0.0014682
-0.485 | -0.0014646
-0.49 | -0.0014602
-0.495 | -0.0014552
-0.5 | -0.0014514
0 | -1.0031e-07
-0.005 | -5.2012e-05
-0.01 | -0.00010529
-0.015 | -0.00015966
-0.02 | -0.00021254
-0.025 | -0.00026588
-0.03 | -0.00031964
-0.035 | -0.00037226
-0.04 | -0.00042478
-0.045 | -0.0004778
-0.05 | -0.00053022
-0.055 | -0.00058154
-0.06 | -0.00063368
-0.065 | -0.00068536
-0.07 | -0.00073628
-0.075 | -0.00078652
-0.08 | -0.00083724
-0.085 | -0.00088694
-0.09 | -0.00093598
-0.095 | -0.0009849
-0.1 | -0.0010334
-0.105 | -0.0010811
-0.11 | -0.0011285
-0.115 | -0.0011614
-0.12 | -0.0012092
-0.125 | -0.001257
-0.13 | -0.0013032
-0.135 | -0.0013488
-0.14 | -0.0013934
-0.145 | -0.0014388
-0.15 | -0.001483
-0.155 | -0.0015258
-0.16 | -0.001569
-0.165 | -0.0016118
-0.17 | -0.001652
-0.175 | -0.0016932
-0.18 | -0.0017342
-0.185 | -0.001772
-0.19 | -0.001811
-0.195 | -0.0018494
-0.2 | -0.0018854
-0.205 | -0.001923
-0.21 | -0.0019564
-0.215 | -0.0019926
-0.22 | -0.0020286
-0.225 | -0.00206
-0.23 | -0.0020944
-0.235 | -0.0021282
-0.24 | -0.0021588
-0.245 | -0.0021906
-0.25 | -0.0022222
-0.255 | -0.0022506
-0.26 | -0.0022806
-0.265 | -0.0023094
-0.27 | -0.0023352
-0.275 | -0.0023634
-0.28 | -0.0023902
-0.285 | -0.0024136
-0.29 | -0.0024392
-0.295 | -0.0024642
-0.3 | -0.0024852
-0.305 | -0.0025086
-0.31 | -0.002531
-0.315 | -0.00255
-0.32 | -0.0025708
-0.325 | -0.0025908
-0.33 | -0.0026036
-0.335 | -0.0025982
-0.34 | -0.0026152
-0.345 | -0.0026312
-0.35 | -0.002646
-0.355 | -0.0026602
-0.36 | -0.0026738
-0.365 | -0.0026864
-0.37 | -0.0026984
-0.375 | -0.00271
-0.38 | -0.002721
-0.385 | -0.0027314
-0.39 | -0.002741
-0.395 | -0.0027506
-0.4 | -0.0027612
-0.405 | -0.002768
-0.41 | -0.0027746
-0.415 | -0.0027808
-0.42 | -0.0027858
-0.425 | -0.0027904
-0.43 | -0.0027942
-0.435 | -0.0027986
-0.44 | -0.0028024
-0.445 | -0.0028096
-0.45 | -0.0028152
-0.455 | -0.0028154
-0.46 | -0.0028156
-0.465 | -0.0028166
-0.47 | -0.0028156
-0.475 | -0.0028144
-0.48 | -0.002814
-0.485 | -0.0028126
-0.49 | -0.0028106
-0.495 | -0.0028086
-0.5 | -0.002807
0 | -1.1496e-07
-0.005 | -6.258e-05
-0.01 | -0.00012826
-0.015 | -0.00019178
-0.02 | -0.0002553
-0.025 | -0.00031958
-0.03 | -0.00038326
-0.035 | -0.0004465
-0.04 | -0.00050984
-0.045 | -0.00057336
-0.05 | -0.00063686
-0.055 | -0.00069906
-0.06 | -0.00076186
-0.065 | -0.0008251
-0.07 | -0.00088698
-0.075 | -0.0009484
-0.08 | -0.0010103
-0.085 | -0.0010721
-0.09 | -0.0011331
-0.095 | -0.001188
-0.1 | -0.0012494
-0.105 | -0.0013096
-0.11 | -0.0013704
-0.115 | -0.0014308
-0.12 | -0.0014882
-0.125 | -0.0015478
-0.13 | -0.001607
-0.135 | -0.001665
-0.14 | -0.0017228
-0.145 | -0.001781
-0.15 | -0.0018378
-0.155 | -0.0018942
-0.16 | -0.001951
-0.165 | -0.002007
-0.17 | -0.002062
-0.175 | -0.0021166
-0.18 | -0.0021716
-0.185 | -0.0022258
-0.19 | -0.0022802
-0.195 | -0.002334
-0.2 | -0.0023876
-0.205 | -0.0024402
-0.21 | -0.002492
-0.215 | -0.0025426
-0.22 | -0.0025928
-0.225 | -0.0026418
-0.23 | -0.0026912
-0.235 | -0.00274
-0.24 | -0.0027876
-0.245 | -0.0028352
-0.25 | -0.002883
-0.255 | -0.0029308
-0.26 | -0.0029778
-0.265 | -0.0030244
-0.27 | -0.003071
-0.275 | -0.0031154
-0.28 | -0.0031594
-0.285 | -0.0032038
-0.29 | -0.003247
-0.295 | -0.0032864
-0.3 | -0.0033288
-0.305 | -0.0033666
-0.31 | -0.0034078
-0.315 | -0.0034476
-0.32 | -0.0034832
-0.325 | -0.0035232
-0.33 | -0.0035612
-0.335 | -0.0035966
-0.34 | -0.0036334
-0.345 | -0.00367
-0.35 | -0.0037024
-0.355 | -0.003737
-0.36 | -0.0037712
-0.365 | -0.0038016
-0.37 | -0.0038344
-0.375 | -0.0038658
-0.38 | -0.0038928
-0.385 | -0.0039236
-0.39 | -0.0039528
-0.395 | -0.0039786
-0.4 | -0.004007
-0.405 | -0.0040344
-0.41 | -0.0040574
-0.415 | -0.0040836
-0.42 | -0.004109
-0.425 | -0.0041282
-0.43 | -0.0041516
-0.435 | -0.0041742
-0.44 | -0.0041936
-0.445 | -0.0042152
-0.45 | -0.0042348
-0.455 | -0.004249
-0.46 | -0.0042686
-0.465 | -0.0042864
-0.47 | -0.004265
-0.475 | -0.0042804
-0.48 | -0.0042946
-0.485 | -0.0043082
-0.49 | -0.004321
-0.495 | -0.0043322
-0.5 | -0.004343
0 | -7.6283e-08
-0.005 | -6.7418e-05
-0.01 | -0.00013788
-0.015 | -0.00020616
-0.02 | -0.00027534
-0.025 | -0.00034416
-0.03 | -0.00041232
-0.035 | -0.000481
-0.04 | -0.00054974
-0.045 | -0.0006178
-0.05 | -0.00068626
-0.055 | -0.00075506
-0.06 | -0.00082302
-0.065 | -0.00089086
-0.07 | -0.00095944
-0.075 | -0.001027
-0.08 | -0.0010941
-0.085 | -0.0011602
-0.09 | -0.0012272
-0.095 | -0.001295
-0.1 | -0.0013626
-0.105 | -0.00143
-0.11 | -0.0014968
-0.115 | -0.0015638
-0.12 | -0.0016304
-0.125 | -0.0016964
-0.13 | -0.001763
-0.135 | -0.0018292
-0.14 | -0.0018952
-0.145 | -0.0019606
-0.15 | -0.0020264
-0.155 | -0.002092
-0.16 | -0.0021566
-0.165 | -0.0022218
-0.17 | -0.0022872
-0.175 | -0.0023508
-0.18 | -0.002414
-0.185 | -0.0024782
-0.19 | -0.0025426
-0.195 | -0.0026062
-0.2 | -0.0026678
-0.205 | -0.002731
-0.21 | -0.0027942
-0.215 | -0.0028556
-0.22 | -0.002918
-0.225 | -0.00298
-0.23 | -0.003041
-0.235 | -0.003102
-0.24 | -0.003163
-0.245 | -0.0032234
-0.25 | -0.0032836
-0.255 | -0.003343
-0.26 | -0.003402
-0.265 | -0.0034618
-0.27 | -0.0035206
-0.275 | -0.0035772
-0.28 | -0.0036354
-0.285 | -0.0036938
-0.29 | -0.0037498
-0.295 | -0.0038062
-0.3 | -0.003863
-0.305 | -0.0039176
-0.31 | -0.0039732
-0.315 | -0.004028
-0.32 | -0.004081
-0.325 | -0.0041356
-0.33 | -0.004189
-0.335 | -0.004236
-0.34 | -0.0042814
-0.345 | -0.004333
-0.35 | -0.0043842
-0.355 | -0.0044346
-0.36 | -0.0044844
-0.365 | -0.0045352
-0.37 | -0.0045852
-0.375 | -0.0046328
-0.38 | -0.0046794
-0.385 | -0.0047262
-0.39 | -0.0047718
-0.395 | -0.0048136
-0.4 | -0.0048602
-0.405 | -0.0049048
-0.41 | -0.0049476
-0.415 | -0.0049906
-0.42 | -0.0050342
-0.425 | -0.0050744
-0.43 | -0.0051166
-0.435 | -0.0051594
-0.44 | -0.0051984
-0.445 | -0.005236
-0.45 | -0.005274
-0.455 | -0.0053114
-0.46 | -0.0053476
-0.465 | -0.005383
-0.47 | -0.0054174
-0.475 | -0.005452
-0.48 | -0.005485
-0.485 | -0.0055188
-0.49 | -0.0055504
-0.495 | -0.0055806
-0.5 | -0.0056114